|  |  |
| --- | --- |
| **Certificate holder** | **DVI Energi A/S**  **Skørping Nord 4B,**  **DK-9520 Skørping,**  **DENMARK** |
| **Production site(s)** | Skørping, DENMARK |
| **Product** | Heat Pump |
| **Product Type** | Brine/Water |
| **Subtype and Model(s)** | DVI BW-407-7  DVI BW-407-7 |
| **Testing basis** | EN 12102-1:2022, EN 14511-2:2022, EN 14511-3:2022,  EN 14511-4:2022, EN 14825:2022, KEYMARK Certification Scheme for Heat Pumps, Rev. No. 12 (2023-03-28) |
| **Mark of conformity** |  |
| **Registration No.** | 037-0179-24 |
| **Right of use** | This certificate entitles the holder to use the mark of conformity shown above in conjunction with the specified registration number.  See Heat Pump KEYMARK database for detailed information. |
| **Validity** | **2034-05-08**  **To check the validity of this certificate, please visit** [**www.szutest.cz**](http://www.szutest.cz/) |